RDS DIAGNOSTICS LTD.

RADIOGRAPHIC PROCEDURES

Reviewed December 2003

Revised January 23, 2002

Reviewed January 04, 2000

Revised January 12, 1999

Revised December 1998

ACKNOWLEDGEMENT

| NAME (please print) | I have read RP | I understand RP | DATE |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |
| 7. |  |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |
| 11. |  |  |  |
| 12. |  |  |  |
| 13. |  |  |  |
| 14. |  |  |  |
| 15. |  |  |  |
| 16. |  |  |  |
| 17. |  |  |  |
| 18. |  |  |  |
| 19. |  |  |  |
| 20. |  |  |  |

RADIOGRAPHIC PROCEDURES

| TOPIC | PAGE |
| --- | --- |
| EXAMINATION PROTOCOLS | 1 |
| GENERAL COMMENTS | 2 |
| OVEREXPOSURE PROTOCOL | 3 |
| SKULL AND CRANIUM | 4 |
| VERTEBRAL COLUMN | 6 |
| PELVIS AND HIPS | 7 |
| LOWER EXTREMITY | 8 |
| UPPER EXTREMITY | 9 |
| CHEST AND THORAX | 11 |
| ABDOMEN | 12 |
| SURVEYS | 13 |

EXAMINATION PROTOCOLS

NO PATIENT IS TO BE EXAMINED WITHOUT A REQUISITION.

Ask the patient if he/she was given a requisition for the examination. The requisition is a "source document" which must accompany the file of all patients examined at the clinic. It must be filled out and signed by the referring doctor, and must be filed with the patient's report and kept for a minimum of six years. A complete requisition must include patient’s name, and 1 other identifying factor, type of examination, and referring physician’s signature.

If the patient does not have a requisition, then you must call the referring doctor's office and obtain the necessary information and authorization, fill out and sign a new requisition on behalf of the referring doctor.

If there is any doubt as to why the patient has been sent to the clinic, you must contact the referring physician before proceeding any further.

A complete set of radiographic routines is located in the RDS Diagnostics Ltd. Protocol Manual and in each X-ray room. Technique charts are located in each X-ray room, and are calculated by body part thickness in cm, and dated according to the last revision.

X-ray films must be kept for three years following the patient's last visit or three years after the patient's 18th birthday.

GENERAL COMMENTS

The procedures in this section are the radiographic routines of RDS Diagnostics Ltd. In this manual, a "view" is taken to mean a specific projection of a body part (i.e. PA projection of the hand). A "routine" is taken to mean a set of views, which demonstrate a specific body part (i.e. hand). This page details the form of the routines, and lists some general policies, which should be followed for all examinations.

Each routine contains three sections:

1.	The first indicates the specific views which comprise the routine.

2.	The next recommends a film size for each view. This, or a smaller size, should be used whenever possible provided the quality of the exam is not compromised.

3.	The final section indicates comments for the exam. Comments, which are in sentence form, apply to all views of the routine. Comments, which follow a number, apply to the specific view, which is numbered opposite.

For the purposes of this manual, a child is defined as being 15 years of age or less.

Gonadal shielding must be used whenever possible.

The 10 day rule must be observed where applicable.

OVEREXPOSURE PROTOCOL

Definition:

An incident or inadvertent exposure which results in a significant additional dose to a patient (pp. 62-63, HARP guidelines).

Action:

If such an incident occurs, the technologist should notify the RPO, the medical Director and the direct supervisor immediately.

The RPO must in turn notify the Director of X-ray Safety, in writing, of the steps being taken to investigate and rectify any existing problems (Ontario regulation 45-84, sections 7:13-14). This must be received by the Director within 5 days.

SKULL AND CRANIUM

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Skull - Recent Injury | 1) Both Laterals 2) Basal 3) Caldwell 4) Towne's | 10x12 10x12 10x12 10x12 | - for child, include an AP view as well - for child, a Basal (2) must be attempted. 3) AP if necessary due to patient condition |
| Skull - Non-injury | 1) Single Lateral 2) Caldwell 3) Towne's | 10x12 10x12 10x12 | 1) for child, affected lateral only (as opposed to both laterals) is sufficient 2) AP if necessary due to patient condition |
| Sella Turcica (when specifically requested) | 1) Single Lateral 2) Coned Laterals-Both 3) Caldwell 4) Coned Caldwell 5) Towne's | 10x12 8x10 10x12 8x10 10x12 | If a routine skull has been recently done, the coned views only are sufficient. |
| Internal Auditory Canals (Meati) | 1) Both Laterals 2) Caldwell 3) Towne's 4) Stenver's 5) Basal | 10x12 10x12 10x12 10x12 10x12 |  |
| Facial Bones | 1) Waters 2) Caldwell 3) Lateral 4) Zygomatic Arches | 8x10 8x10 8x10 | Include area of interest 4) If facial trauma |
| Sinuses | 1) Waters 2) PA 3) Lateral | 8x10 8x10 8x10 | Must be done upright. For child, obtain lateral with head and body in true lateral with child breathing in through nose at time of exposure. |
| Mandible | 1) PA 2) Towne's 3) Both Lateral Obliques 4) Basal | 8x10 8x10 8x10 8x10 | 3) tube angulation 30 cephalad 4) when possible |
| Temporomandibular Joints | 1) Schuller's of each side with a) open mouth b) closed mouth 2) Towne's | 8x10 8x10 | 1) 25 caudad 2) 25 caudad |
| Mastoids | 1) Towne's 2) Basal 3) Schuller's of each side 4) Stenver's of each side | 8x10 8x10 8x10 8x10 | 1) 25 caudad |

SKULL AND CRANIUM

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Nasal Bones | 1) Both Laterals 2) Waters | 8x10 8x10 | 1) coned, on a single film |
| Orbit for Foreign Body | 1) Modified Waters 2) Single Lateral | 8x10 8x10 | Coned to affected eye for Waters-OML 25°, beam 90°, eyes closed # Note: clean screens before the examination |
| Orbit for MRI | 1) Modified Waters | 8x10 | Include both orbits. |
| Orbit for Fracture | 1) Both Laterals 2) Caldwell 3) Towne's 4) Waters | 8x10 8x10 8x10 8x10 | 1) coned |
| Optic Foramina | 1) Both Laterals 2) Caldwell 3) Towne's 4) Single PA Oblique of each optic foramen | 10x12 10x12 10x12 8x10 | Where a skull has recently been done, do PA Oblique views only. |
| Salivary Glands - Parotid | 1) True Lateral 2) Lateral Oblique 3) PA Mandible | 8x10 8x10 8x10 | 1) with open mouth 2) of affected side 3) with cheek blown out, and affected side turned 10 away from film |
| Salivary Glands - Submandibular | 1) True Lateral | 8x10 | 1) with tongue depressed |
| Neck for Soft Tissue (Adenoids) | 1) AP Cervical Spine 2) Lateral | 10x12 10x12 | 2) soft tissue technique, during Modified Valsalva's manoeuvre |

VERTEBRAL COLUMN

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Cervical Spine | 1) AP 2) AP Odontoid 3) Lateral 4) Both Obliques | 8x10 8x10 10x12 8x10 | Obliques should be exposed with a 15 caudad tube angulation for PA obliques, and 15 cephalad angle for AP obliques. For child with non-injury omit obliques. |
| Thoracic Spine | 1) AP 2) Lateral 3) Swimmer's | 7x17 7x17 10x12 | 3) omit swimmer's for child |
| Lumbar Spine | 1) AP 2) Lateral 3) AP SI Joints 4) Lateral L5-S1 5) Both Obliques | 7x17 7x17 8x10 8x10 10x12 | 1) to include lower thoracic 3) 20 cephalad 4) to include L5-S1 and sacrum Omit L5-S1 views and obliques for child. If flexion and extension views are requested, do two separate lateral standing views as well as routine. |
| Lumbar Spine 35 yrs and under | 1) AP 2) Lateral 3) Lateral L5-S1 | 7x17 7x17 8x10 | 1) to include lower thoracic spine |
| Sacrum | 1) AP 2) Lateral | 8x10 8x10 | 1) 20 cephalad |
| Coccyx | 1) AP 2) Lateral | 8x10 8x10 | 1) 10 caudad |
| Sacroiliac Joints | 1) AP 2) Obliques for Both Sides | 8x10 8x10 | 1) 10-25 cephalad, knees flexed over pad |
| Spine for Scoliosis | 1) AP Standing 2) Lateral Standing 3) Right & Left Lateral Bending Views (AP) | 7x17 7x17 14x17 | Include iliac crest on all views. AP standing only on subsequent examinations. |

*All Chiropractic views must be done upright

PELVIS AND HIPS

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Pelvis - Recent Injury | 1) AP 2) Both Obliques | 14x17 as required | 1) of entire pelvis 2) 15 rotation |
| Pelvis - Inlet & Outlet Projections | 1) AP 45 caudad 2) AP 45 cephalad | 14x17 14x17 | Ordinarily requested following routine views of severe pelvic fracture. |
| Pelvis - Non-injury | 1) AP | 14x17 | 1) legs abducted & toes inverted |
| Pelvis and Both Hips - Non-injury | 1) AP 2) Both Laterals | 14x17 10x12 | 1) legs abducted & toes inverted 2) separate laterals in frog position |
| Hip - Unilateral for Injury | 1) AP Pelvis 2) AP of affected side 3) Lateral of affected side | 14x17 8x10 10x12 |  |
| Hip - Unilateral Non-injury | 1) AP Pelvis 2) Lateral of affected side | 14x17 10x12 |  |
| Hip - Recheck Fracture | 1) AP of affected side 2) Lateral of affected side | 10x12 10x12 |  |
| Hip - Child | 1) AP 2) Lateral | as required | Lateral in frog position to include both hips with gonadal shielding. |

LOWER EXTREMITY

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Femur | 1) AP 2) Lateral | 7x17 7x17 |  |
| Knee | 1) PA 2) Lateral 3) Both Obliques 4) Skyline | 8x10 8x10 8x10 8x10 | 1) AP if necessary 2) lateral of opposite knee for Osgoode-Schlatter's disease 3) omit obliques for child 4) if patellar injury |
| Tibia and Fibula | 1) AP 2) Lateral | as required |  |
| Ankle | 1) AP 2) Lateral 3) Internal Oblique | single 10x12 | Keep foot dorsi-flexed where possible. |
| Foot | 1) AP 2) Internal Oblique 3) Lateral | single 10x12 for AP & Oblique 8x10 | 1) 15 cephalad |
| Toe | 1) AP 2) Lateral 3) Oblique | single 8x10 |  |
| Calcaneus - Injury | 1) AP Hind Foot 2) Lateral Calcaneus 3) Oblique Calcaneus 4) Axial Calcaneus | as required | Axial and Lateral only for child. |
| Calcaneus - Non-injury | 1) AP Hind Foot 2) Both Laterals of the same Calcaneus 3) Oblique Calcaneus | as required | Axial and Lateral only for child. |

UPPER EXTREMITY

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Shoulder - Injury | - AP – internal rotation - AP – external rotation - Trans-scapular - Axial | 10x12 10x12 10x12 10x12 | - scapula parallel to film 4) if ROM permits |
| Shoulder - Non-injury | 1) AP - internal rotation 2) AP – external rotation 3) Axial | 10x12 10x12 10x12 | 1) scapula parallel to film 2) scapula parallel to film |
| Clavicle | 1) AP 2) AP 20 cephalad | single 10x12 | Children three years and under to include both sides. |
| Scapula | 1) AP 2) Lateral | 10x12 10x12 |  |
| Sternoclavicular Joints | 1) Single PA Oblique of each side | 8x10 |  |
| Acromioclavicular Joints | 1) AP AC Joints | 2-8x10’s | 1) coned to joint If no fracture is visible, do a single upright view of each AC joint with weights. Mark film accordingly. |
| Humerus | 1) AP 2) Lateral | as required |  |
| Elbow | 1) AP - palm up 2) Internal and External Oblique 3) Lateral - thumb up | as required |  |
| Forearm | 1) AP 2) Lateral | as required |  |

UPPER EXTREMITY (Continued)

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Wrist | 1) PA 2) Lateral 3) Internal Oblique | single 10x12 |  |
| Scaphoid | 1) PA Wrist 2) Lateral Wrist 3) Internal Oblique Wrist 4) PA Scaphoid | single 10x12 | 4) ulnar deviation - 30 proximal angulation |
| Carpal Tunnel | 1) PA Wrist 2) Lateral Wrist 3) Internal Oblique Wrist 4) Carpal Tunnel Projection | single 10x12 8x10 |  |
| Hand | 1) PA 2) Lateral 3) Oblique | as required | 2) separate fingers 3) decrease a step in time for arthritis |
| Finger or Thumb | 1) PA 2) Lateral 3) Oblique | single 8x10 |  |

CHEST AND THORAX

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Chest | 1) PA 2) Lateral | smallest film practical | 2) omit for immigration |
| Ribs | 1) AP or PA 2) AP or PA Oblique 3) AP Lower | 14x17 14x17 10x12 | 1) of affected side 2) of affected side 3) if necessary |
| Sternum | 1) Oblique PA 2) Lateral | 10x12 10x12 |  |
| Thoracic Inlet | 1) AP 2) Lateral | 10x12 10x12 | CP sternal notch on full inspiration. |

ABDOMEN

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Abdomen - KUB or Survey | 1) AP | 14x17 | 1) include separate view of pelvis if necessary |
| Abdomen - Emergency Views | 1) AP Supine 2) AP Upright 3) PA Chest | 14x17 14x17 14x17 | 1) include entire abdomen 2) to include diaphragm - omit if patient too ill |
| Abdomen - IUCD | 1) AP Supine 2) Lateral Pelvis | 14x17 10x12 | 1) if upright requested, always do a supine as well 2) only if IUCD seen in the pelvis on supine |
| Gallbladder | 1) AP Supine | 14x17 |  |

SURVEYS

| EXAMINATION | PROJECTION | FILM SIZE | COMMENTS |
| --- | --- | --- | --- |
| Skeletal Survey for Bone Age | 1) Single PA of left hand and wrist | as required |  |
| Skeletal Survey with Long Bones | 1) Single PA left Hand-Wrist 2) AP both Humeri 3) AP both Forearms 4) AP both Femora 5) AP both Tibias | as required | Omit any area that has been recently X-rayed. |
| Skeletal Survey for Suspected Child Abuse | 1) AP or PA Skull 2) Lateral Skull 3) AP or PA Chest 4) AP both Upper Extremities 5) AP both Lower Extremities | as required | 4) include shoulder and clavicle The number of exposures should be dependant on child's size. |
| Rheumatoid Survey | - AP Cervical Spine - Lateral Cervical Spine - AP Both Hands & Wrists - Lateral Both Hands & Wrists - DP Both Feet - Lateral Both Feet & Ankles - AP Both Ankles - AP Both Knees - Lateral Both Knees - AP Pelvis | as required | 5) DP-dorsi-plantar 10) include both hips |
| Metastatic Survey | 1) PA Chest 2) Lateral Chest 3) AP Cervical Spine 4) Lateral Cervical Spine 5) AP Dorsal Spine 6) AP Abdomen 7) Lateral Lumbar Spine 8) AP Pelvis 9) AP or PA Skull 10) Lateral Skull 11) AP of both Shoulders | 14x17 14x17 10x12 10x12 14x17 14x17 7x17 14x17 10x12 10x12 10x12 | Omit any area that has been recently X-rayed. 6) include lumbar spine |